## Slide 1
LARGE-SCALE TEST FACILITY FOR CONTAINMENT EXPERIMENTAL RESEARCH
V. Zasukha
Sosnovy Bor, 29.09.2010

## Slide 2
The KMS facility is a state property
  General Designer
  Research and Design Institute «Atomenergoproekt»
  (St. Petersburg)
  PARTICIPANTS
  OKB «Gidropress» (Podolsk, Moscow region)
  Alexandrov Research Institute of Technology (NITI, Sosnovy Bor)
  Russian Research Center «Kurchatov Institute» (Moscow)
  State Research Center «Physics and Power Engineering Institute» (Obninsk, Kaluga region)
  «Research and Production Association for Design and Development
  of Power Equipment named after I.I. Polzunov»
  (NPO TSKTI, St. Petersburg)
  The KMS location:
  NITI, Sosnovy Bor, Leningrad region
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV

## Slide 3
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV

## Slide 4
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS main characteristics
№
Parameter
Unit measure
Quantity
1
2
(
3
4
Containment volume
m
3
2000.0
Containment shell
(material

steel /10HSND
)

diameter of cylindrical section
m
12.0

height
of
cylindrical section
m
9.5

radius
of hemispherical dome
m
6.0

thickness
of
wall
m
0.025
Maximum containment pressure
М
P
а
0.5
Maximum
temperature
°
С
150

## Slide 5
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV

## Slide 6
Comparative characteristics of VVER-1000 containment and KMS facility
Parameter | VVER-1000 | KMS | Ratio of values VVER-1000/KMS
Internal containment volume, m3 | 84000 | 1920 | 44
Internal free volume, m3 | 69169 | 1920 | 36
Containment height, m | 61.6 | 15.9 | 3.9
Ratio of containment height to its diameter | 61.6 / 43.0 = 1.4 | 15.9 / 12.0 = 1.33 | 1.05
Maximum pressure value, MPa | 0.5 | 0.5 | 1
Maximum temperature value, C° | 150 | 150 | 1
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV

## Slide 7
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
C-PHRS model

## Slide 8
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS PHRS piping

## Slide 9
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
Lay-out of gas analysis system
in the laboratory room
PC for chromatographic analysis
PC for mass-spectrometric analysis
Mass-spectrometer
Gauge cock
Chromatograph
Bottled carrier-gas
System of condensation, separation and drying
Sampling lines
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.

## Slide 10
Temperature of steam-gas mixture
in containment boxes
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
,
s
0
5000
10000
15000
20000
25000
30000
35000
40000
20
40
60
80
100
120
140
160
T
,
o
C
1
2
3
1 – box B1
2 – box B2
3 – box B3

## Slide 11
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS contaiment with heat insulation
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.

## Slide 12
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS steam injection system
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.

## Slide 13
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
Steam-gas injection device (elevation +8 m)
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.

## Slide 14
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS PHRS heat exchanger-condenser model

## Slide 15
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
PHRS heat exchanger-condenser installed inside the containment
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.

## Slide 16
RESEARCH INSTITUTE OF TECHNOLOGY (NITI)
ALEXANDROV
KMS control displays
Notes: На первом этапе работ был выполнен анализ выхода массы, энергии и водорода при протекании запроектных аварий
В качестве основного средства для выполнения такого анализа использовался код РСГ.